{

"correction": {

"center_wavelength_nm": 1550.0,

"intercept_db": 2.543253976730291,

"model": "wavelength_linear",

"residual_definition": "model_value - reference_value",

"slope_db_per_nm": -0.008742608622570414

},

"passed": true,

"reasons": []

}

split       correction                               requested_rows matched_rows coverage n rmse_db             mae_db              bias_db                 max

_ab

s_e

rro

r_d

b

-----       ----------                               -------------- ------------ -------- - -------             ------              -------                 ---

calibration raw                                      9              9            1.0      9 2.5839474293504683  2.557824886189937   2.557824886189937       2.9

calibration wavelength_linear_in_sample              9              9            1.0      9 0.35531426031561575 0.33315202146961514 -3.9474596431116675e-16 0.5

calibration wavelength_linear_loo                    9              9            1.0      9 0.46596503798033795 0.43507546833600746 0.0036928410653922247   0.7

holdout     raw                                      9              9            1.0      9 2.803861316785546   2.7839445515424237  2.7839445515424237      3.1

holdout     wavelength_linear_trained_on_calibration 9              9            1.0      9 0.3887948541602863  0.3777020073728493  0.21096467678177908     0.4

requirement                 passed observed            threshold

-----------                 ------ --------            ---------

no_holdout_identity_overlap True   0.0                 0.0

holdout_minimum_coverage    True   1.0                 1.0

holdout_gsnr_rmse           True   0.3887948541602863  1.0

holdout_gsnr_absolute_bias  True   0.21096467678177908 0.75

calibration_loo_gsnr_rmse   True   0.46596503798033795 1.0